# Needed material

| Biological material | Polymodal cages | Software |
| --- | --- | --- |
| Mouse | 473 nm laser source [Thorlabs ] 593 nm laser source Patch Cords Fiber cables Arduino-Uno boards Webcam | - iSPY (Camera) - POLY - POLYFILES - Arduino IDE 1.8.15 - Bonsai 2.6.2 |

# Safety Information – For more information, look at the complete safety data sheet

# General Rules: is POLY imagine ref.

the idea is to minimize the stress and disturbance of internal state of the animal as much as possible.

- change gloves; between WT and KO;

- clean in between.....

- Use different weight things

- to mark; you touch the tail, and not press.. then the animal is ok

Figure 1

# Polymodal Cages Preparation

- Turn on the computer and the Polymodal cages unit

- Make sure the postes are well connected and clean

In the desktop/; make sure all required files are there

- Open iSPY software to load the cameras;

  - Confirm all is working and detecting.

  - Minimize into tray

- Open POLY

  - It will load for a bit; and open a screen with the 4 postes

(Picture 1.2)

Confirm it is POLY 6.1 by IMETRONIC 20/06/22

As you can see the interface is divided into 4 Postes 1 to 4; which correspond to the cages

Simply the idea here is to

- 1) load an exercise

- 2) Configure animals

- 3) Save/Load a session file

Within that a lot of repetition; yet careful attention to the details

# Configure Experiment

Now let’s run a test; into one post

- Press Exercise >>Ouvrir: SELECT THE EXERCISE YOU’RE DOING

- e.g: 02_Preconditioning_LED1_Tone.xls Now a tone is to be coupled to a light for [add protocol details]10 of the seconds; in this exercise it is repeated for 6 sessions.

- In C:/POLY>IMETRONIC/ Test_tout.xls This is to test all the components of the cages (Nose Poke NP, Distiller D, Shock, Sound, LED/HLED)

* Refer to the manual [Polymodal user guide_marsicano2022] for further details

- CONFIRM EXERCISE IS WELL WRITTEN; and loaded.

- Next Step is to configure the animal sessions.

Each session can be loaded; You have to individually load in each box the correct ones: e.g: Poste 01:

Fichier>> Nouveau [if for the first time]; Ouvrir [If repeating a session]

Fichier>>Ouvrir:02_Preconditioning/02_Pre_%Gene%

(e.g)/02_Pre_KO:>> 02_Pre_KO01.sea

- a box will come up: it says {Séances précédentes...}

Confirm Animal ID, Date and Gene [Wt vs. KO]

Repeat iPoste:nPostes

Etiquette: Modify Date and confirm gene.

# Record

NOW ALL your configuration is ready; you confirm all is well written

And confirm your timing.. SET ON/OFF General and start recording

To confirm the experience is recording and saving;

    - Pret pour experience changes into : Experience en cours

    - The video starts recording ; don’t try to touch it; just observe, and don’t press REC from the software; it is already encoded in the exercise

# Analyze

Now let’s analyze our data

# ANNEX 1

- Weigh the mice before test. As recorded in the sheet

- Bring one group of animal to the behavior paradigm. Set up the system/computer while mice habituate to the room.

- N.B: Make sure that there

2 training sessions separated 1h

The shock is an aggressive manipulation;

so better make it as easy for an animal as possible

Pay attention to whatever you introduce to that grid; as mice can get distracted as humans; quiet easily; if such a vivid memory creation experience is undergone.

As yesterday you've completed youre sixth session of the exercise; all is supposed to be well...

You will enter the grid; there are no remains of food, pee, stool or bedding of another place: {meaning cleaning well; and making sure what is there; resembles what was at house>> yet the context is different}

Mice leave out a lot of traces, better watch out for cleaning

Then;

PROTOCOL:

0- 3 min [180000ms] : H1 {Baseline}

1- 8 secs [8000ms] : HLED(ON) {Light}

1- 2 secs [2000ms] : ASHCK(ON(i0.4)) {Shock: [ON;iON],[if @ON = ON(iX); i=intensity; X="float"]

2- 1 min [60000ms] : ITI_1 [HLED(!ON),ASHCK(!ON) {ITI_"n"} {CTT=idxn}

$$$$ __++LSx... TTL Iteration:LSx --> ITI_x-1 $$$$

3- 1 min [60000ms] : H2 {End}

1,2 Iteration: "args": n[ITI]; n [HLED:ASHCK]

notes@THE DAY@

SHOCK seems to be quiet remarkable for mice, i notice that the indicator LED is not lid; however one can clearly hear an animal sqeuak following a 2s shock; it seems we're printing bad memories association for the light

====================================

Tomorrow is here:

2 Probe tests (one with light and the other with tone) each session 3 min off and then 3 min On, separated at least 1h (both in the morning).

.

Probe Test 1: Fear: 3 min off and then 3 min On: LED

PROTOCOL:

0- 3 min [180000ms] : T1= H1; T2=_OFF {Baseline}

1- 3 min [180000ms] : T1= HLED(ON); T2=_OFF {Light}

$$$$ __++LSx... TTL Iteration:LSx --> ITI_x-1 $$$$

3- 1 min [60000ms] : H2 {End}

1,2 Iteration: "args": n[ITI]; n [HLED:ASHCK]

then;

Probe Test 2: Fear: 3 min off and then 3 min On: LED

PROTOCOL:

0- 3 min [180000ms] : T1= H1; T2=_OFF {Baseline}

1- 3 min [180000ms] : T1= ASND(ON); T2=_ON {Light}

ON(3,3000)

!ON

$$$$ __++LSx... TTL Iteration:LSx --> ITI_x-1 $$$$

3- 1 min [60000ms] : H2 {End}

1,2 Iteration: "args": n[ITI]; n [HLED:ASHCK]

- is no laser coming through the “sleeve”. If there is laser leaking, then you need to attach the cable again (i.e., there is a misconnection). You may see laser on top of the skull, that is fine.